State of Louisiana

Office of State Procurement

Jeff Landry

Governor

Taylor F. Barras

Commissioner of Administration

Division of Administration

1201 N. Third Street, Suite 2-160

Baton Rouge, Louisiana 70802-5243

Phone (225) 342-8010

Fax (225) 342-9756

May 18, 2026

Addendum No. 01

Your reference is directed to RFx Number 3000026221 for the Invitation to Bid (ITB) for the State of Louisiana – Chiller Replacement - NOCCA, which is currently scheduled to open at 10:00 AM CT on 05/27/2026.

The following are the Vendor’s Inquiries received by the deadline date of May 13, 2026, and the State’s Responses:

Vendor’s Inquiry #1: On attachment C it states in the scope on line 6 – “confirm micron level and recharge circuit with new and recovered refrigerant.” Will the agency contact be supplying the new refrigerant for this repair? The exact amount of the existing refrigerant in each circuit will be unknown until the start of the repair. With both coils still having a leak we will only be able to confirm the additional amount of refrigerant needed after the existing refrigerant charge is pulled and weighed. Please advise if N.O.C.C.A. will be supplying the new refrigerant charge. If not, how do you want us to factor in this to the bid price?

State’s Response #1: The vendor shall provide 310 LBS of R-134A to recharge each circuit to reach factory standards. The remaining refrigerant, if any, will remain on site for the property of NOCCA's for future need.

All else remains as on original Invitation to Bid.

This addendum is hereby officially made a part of the referenced solicitation.

Acknowledgement: If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time.  Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________

Revision: If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification.  Electronic transmissions other than by fax are not being accepted at this time.

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For:  ________________________  By:  __________________________

By:	Arkeith White

Office of State Procurement

Telephone No. 225-219-4207

Email:  Arkeith.white@la.gov