Scope of Work

The Contractor shall provide all labor and materials to furnish and install seven rolling

steel service doors with gearhead electric openers for the Louisiana Division of Administration (DOA).

Location:

Default Storage Location

1635 Foss Street

Baton Rouge, LA 70802

Site Visit Contact:

Kenny Lee

(225) 342-7860

Specifications:

The Contractor shall be responsible for the following:

Door Specifications

- 30 PSF wind load rating

- Minimum 22 ga. Interlocking slats – White

- White Hood

- Structural angle guides – minimum 3/16” thickness

- Doors shall be installed using self tappers or bolts and nuts

- Openers shall be 110V – All electrical and control wiring to be performed by others.

- All doors shall have NEMA 1 open/close/stop control station.

- Two doors shall have NEMA 3R key control with stop button.

- All doors shall have NEMA 1 photo eye safety eyes.

- Estimated door sizes are 12’ x 12’.

General Terms/Conditions:

- The Contractor shall provide a detailed estimate, including labor, materials, and estimated completion time.

- Work will be inspected upon completion to ensure it meets the required standards.

- The Contractor shall schedule work to minimize disruptions to facility operations.

- The Contractor shall maintain a clean and safe work environment during the project.