Scope of Work:

The Contractor shall furnish all labor, materials, equipment, tools, supervision, and services necessary to patch and paint the interior walls and ceiling, replace gable end vinyl siding and vents, replace soffit and facia, repair roof overhang on eastern gable end, and replace existing roof with a metal roof for the Department of Military Affairs (DMA).

Location:

Regional Staging Area

62387 Holloway Rd.

Roseland, Louisiana 70456

DMA Contact:

Von Fish (504) 559-6784, von.fish@la.gov

David Teague (504) 258-2814, david.teague@la.gov

Specification:

The Contractor shall perform the following:

- Repair and paint interior walls and ceiling.

  - Patch and repair drywall joints as necessary.

  - Patch CMU block walls as necessary.

  - Paint the ceiling with flat white paint.

  - Paint walls with semi-gloss paint.

    - Color to be determined prior to painting.

    - Exposed ¾” electrical conduit on walls and ceiling will be painted same color as wall or ceiling paint.

- Replace vinyl siding and vinyl vents on both gable ends.

- Replace existing soffit and facia on all four sides of the building.

  - Remove existing soffit, install required support frame, and install a new soffit at a 90-degree angle from the walls on all sides of the building.

  - Replace the facia on all four sides.

- Repair sagging roof overhang on the eastern side of the building.

  - Install structural support and sheathing support to correct the roof overhang sagging issues.

  - Replace the existing roof with a metal roof.

  - Building size = 72’ x 36’

Terms and Conditions:

- The Contractor shall supply all labor, equipment, tools, remaining materials, and personnel necessary to complete all the work outlined in this Scope of Work in a timely and professional manner.

- The Contractor and all employees shall obey all traffic laws, speed limits, and signage while on LMD facilities.

- The Contractor shall ensure no alcohol or illegal drugs are brought onto LMD facilities by any employees.

- The Contractor shall obey directions given by facility managers during emergency declarations.

- The Contractor may have to suspend/limit operations due to emergency declarations.

- The Contractor shall ensure all vehicles are moved prior to painting.

- The Contractor shall supply dumpster for debris removal.

- The Contractor shall provide port-o-let for workers

- The Contractor shall thoroughly cleanup project site at the end of each workday.