Attachment B - Specifications

RFx No.: 3000026360		Title: Blood and Urine Specimen Kits - DPS

Louisiana State Police

Blood/Urine/Oral Fluid Collection Kit Specifications

Item Number: PM-0LA

- 1 EA Kit Box, 5 ¾” x 4 ¾” x 2 ½” Pre-Sealed via Kit Integrity Seal.

Note A): Reorder Label/”For the Post Mortem Determination of Alcohol and Drugs” Printed in RED and affixed to end of kit box.

Note B): Biohazard Label affixed to top of Kit Box.

Note C): Sequential Number Label (6cm x 1.2cm) affixed to top of kit box using only OFF numbers. Starting PM568001

- 1 EA Instruction Sheet, 8 ½ x 11”

- 1 EA Blood Collectors Report, 5 ½” x 4 ½”

- 1 EA Cardboard Blood and Urine Specimen Bottle Holder with Security flap with Investigating Officers Report Label Affixed to flap.

- 2 EA 10mL Vacutainer Vials with sequential number label affixed to same side as vial label (smaller label and font are acceptable) and containing 100mg of Sodium Fluoride and 20mg of Potassium Oxalate. (Expiration date to be at least 10 months from date of delivery)

- 1 EA 100mL Bottle with “Urine/caution/fill to here 100mL” Label and Sequential Number Label (6cm x 1.2cm) affixed and pre-sealed via internal bottle cap integrity seal.

- 1 EA 12mL Disposable Syringe (non-sterile)

- 1 EA 16g x 4” Needle

- 1 EA Ziplock Bag, 9” x 12”, containing one Liquid Absorbing Sheet

- 1 EA Urine Specimen Bottle Seal, 1” x 7”

- 2 EA Blood Tube Seals, 4cm x 6cm, Custom printed on crack and peel stock

- 1 EA Evidence Seal for sealing specimen Holder

- 6 EA Sequential Number Labels (6cm x 1.2cm) for the Uniform Accident Investigation Form and others

- 1 EA Kit Box Shipping Seal for resealing kit box after specimen collection

- 1 EA FDA Insert/Certificate of Manufacturer

*Shipment 8-10 weeks after receipt of written order:

**Remarks:

- 45 kits per case in a 20” x 14” x 14” shipping case

- The above kit has been specifically designed for the Louisiana State Police Crime Lab and assigned the Reorder Number PM-0LA

Item Number: BU-0LA

BU-0LA, Louisiana State Police Blood and Urine Specimen Collection Kit for Alcohol and Drug Determination, Consisting of the following:

- 1 EA Kit Box 5 ¾” x 4 3/34” x 2 ½”, pre-sealed via Kit Integrity Seal.

Note A): Reorder/for Alcohol and Drug Determination Label printed in BLUE affixed to end of the kit box.

Note B): Biohazard Label affixed to top of kit box

Note C): Sequential Number Label (6cm x 1.2cm) affixed to top of kit box using EVEN number starting BA705800

- 1 EA Instruction Sheet, 8 ½” x 11”

- 1 EA Consent Form, 5 ½” x 4 ½”

- 1 EA Blood Collectors Report, 5 ½” x 4 ½”

- 1 EA Cardboard specimen bottle/blood tube holder with security flap with Investigating Officers Report label affixed to flap

- 2 EA 10mL Grey-Stoppered Blood Collection Tubes, containing 100mg of Sodium Fluoride and 20mg of Potassium Oxalate (TUG10), with Sequential Number Label affixed to same side as vial label, with wording:

  - “FILL TO MAXIMUM VOLUME” Expiration date to be at least 18 months from date of delivery.

- 1 EA 100mL Bottle with “Urine/Caution/Fill To Here” Label and Sequential Number Label affixed, pre-sealed via internal bottle cap integrity seal

- 1 EA 23g x .75” sterile butterfly needle, 12” tube

- 1 EA 21g x 1.25 bD Eclipse Needle

- 1 EA Tube and Needle Holder

- 1 EA BZK Prep Pad (non-alcohol)

- 1 EA Ziplock Bag, 9” x 12”, containing one Liquid Absorbing Sheet

- 1 EA Urine Specimen Bottle Security Seal, 1” x 7”

- 2 EA Blood Tube Seals, 4cm x 6cm, custom printed on crack and peel

- 1 EA Evidence Seal for sealing Specimen Holder

- 6 EA Sequential Number Labels (6cm x 1.2cm) for the Uniform Accident Investigation Form and others

- 1 EA Kit Box Shipping Seal for resealing kit box after specimen collection

- 1 EA Tourniquet

- 1 EA FDA Insert/Certificate of Manufacturer

*Note: Kits to be ordered/delivered in two shipments

**Shipment 8-10 weeks after receipt of written order

***Remarks:

- 45 kits per case, in a 20” x 14” x 14” shipping case

- The above kit has been specifically designed for the Louisiana State Police Crime Lab and assigned the Reorder Number BU-0LA

Item Number: OF-0LA

- 1 EA Kit Box, 5 ¾” x 4 ¾” x 2 ½” Pre-Sealed via Kit Integrity Seal

Note A): Reorder Label/”For Drug Determination” printed in GREEN and affixed to end of kit box

Note B): Biohazard Label affixed to top of Kit Box

Note C): Sequential Number Label (6cm x 1.2cm) affixed to top of kit box using only EVEN numbers. Starting OF000002

- 1 EA Instruction Sheet, 8 ½” x 11”

- 1 EA Oral Fluid Collectors Report, 5 ½” x 4 ¼”

- 1 EA Cardboard Quantisal Device Holder with Security flap with Investigating Officers Report Label affixed to flap

- 1 EA factory-sealed Quantisal Oral Fluid Collection Device with Volume Adequacy Indicator with sequential number label on outer packaging

- 1 EA Oral Fluid Seal, 4cm x 6cm, Custom printed on crack and peel stock

- 1 EA Evidence Seal for sealing specimen holder

- 6 EA Sequential Number Labels (6cm x 1.2cm) for the Uniform Accident Investigation Form and others

- 1 EA Kit Box Shipping Seal for resealing kit box after specimen collection

- 1 EA FDA Insert/Certificate of Manufacturer

*Shipment 8-10 weeks after receipt of written order:

**Remarks:

- 45 kits per case in a 20” x 14” 14”

- The above kit has been specifically designed for the Louisiana State Police Crime Lab and assigned the Reorder Number OF-0LA