ADDENDUM NO. 1
July 20, 2026
“Chiller Replacement”

Bid No. 0004                       10:00 A.M.
              August 25, 2026
The following modifications to the referenced project shall be incorporated into the original specifications and/or plans.  Unless addenda specifically make a change, the specifications and/or plans as issued shall govern.  Bidders are requested to acknowledge receipt of this addendum.

Invitation to Bid #0004
· Question: Who is the controls contractor for the campus?
Answer: Synergy Building Solutions providing Alerton Controls.
· Question: How should the chiller be connected to the campus-wide BAS System? 
Answer: Connect the new Chiller BACnet control panel to a new Alerton BACnet Panel, located inside the Social Work mechanical room where the existing controller is. Provide all BACnet points from the Chiller controller for monitoring and control. Coordinate with SUNO facility to provide critical alarms.
BID #0004
Please resolve these concerns before bids are received under cover of the addendum.
We acknowledge receipt of the following addenda: No.                  Date ____________                                        

No.              Date                      No.                Date                                                                        

COMPANY_____________________________________________________________

NAME__________________________________________________________________

DATE__________________________________________________________________

Evidence of Authority to submit the bid shall be in accordance with R.S. 38:2212(a)(1)(c) and/or R.S. 39:1594(c)(2)(d)

END OF ADDENDUM
Marilyn Manuel - Director of Purchasing 

