State of Louisiana

Office of State Procurement

Jeff Landry

Governor

Taylor F. Barras

Commissioner of Administration

Division of Administration

1201 N. Third Street, Suite 2-160

Baton Rouge, Louisiana 70802-5243

Phone (225) 342-8010

Fax (225) 342-9756

July 22, 2026

Addendum No. 01

Your reference is directed to RFx Number 3000026474 for the Invitation to Bid (ITB) for the State of Louisiana –Storage Tank Installation - DOC, which is currently scheduled to open at 10:00 AM CT on 08/04/2026.

The following changes are to be made to the referenced solicitation:

******************************************************************************

Attachment C – Specifications changed to remove the following:

- Motors: 120/240 vac 50/60 Hz

- Motor: 1-hp continuous duty with thermal overload protection. adjustable v-link belt connects to pump pulley.

Attachment C – Specifications currently reads:

- Supply and install one 6,000-gallon 96” Fireguard or Equal

Specify Brand/Model Bidding: _______________________

- The Contractor shall install a 20' x 24' slab with bollards for tank installation along with proper equipment to offload the tank from the delivery truck.

Attachment C – Specifications changed to read:

- Supply and install one 6,000-gallon 96” Fireguard Dual Compartment (4k/2k) or Equal

Specify Brand/Model Bidding: _______________________

- The Contractor shall provide a crane to offload the tank from the delivery truck and install a 20' x 24' slab with bollards for tank installation.

******************************************************************************

All else remains as on the original Invitation to Bid.

******************************************************************************

This addendum is hereby officially made a part of the referenced solicitation.

Acknowledgement: If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time.  Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________

Revision: If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification.  Electronic transmissions other than by fax are not being accepted at this time.

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For:  ________________________  By:  __________________________

By:	Arkeith White

Office of State Procurement

Telephone No. 225-219-4207

Email:  Arkeith.white@la.gov