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August 3, 2026

Addendum NO. 01

Your reference is directed to RFx Number 3000026485 for the Invitation to Bid (ITB) for the State of Louisiana - Grease Trap Cleanout - DOC-Elayn Hunt Correctional Center, which is currently scheduled to open at 10:00 AM CT on 08/04/2026. 

______________________________________________________________________________
The following change is to be made to the referenced solicitation:

RFx Currently Reads: Scheduled to open at 10:00 AM on August 4, 2026.
RFx Changed to Read: Scheduled to open at 10:00 AM on August 11, 2026.
______________________________________________________________________________
The following are the Vendor’s Inquiries and the State’s Responses:

Vendor’s Inquiry #1: Does the truck have to be 3500 gallons, or can it be two separate trucks to meet the capacity? I have a 2300 gallon truck and an 1800 gallon truck for a total capacity of 4100 gallons.

State’s Response #1: There can be two separate trucks to meet the capacity requirements. 

Vendor’s Inquiry #2: What will the 3500 psi wand be used for? I only have 70 psi of fresh water on one truck but have a pressure washer that can be brought in separately.

State’s Response #2: The wand is used for cleaning trash screens, tank floors and walls. Therefore, 70-psi will not be strong enough to complete these tasks.

Vendor’s Inquiry #3: I keep 3" suction hoses on my truck. Does it need to be 4" hoses?

State’s Response #3: Yes, the suction hoses will need to be 4” hoses.

Vendor’s Inquiry #4: What are the contents within the manhole? My trucks are only capable of pumping grease and sewage waste. I am not able to pump mud or other chemicals.

State’s Response #4: Sewer, grease and other trash are typical contents within a prison setting.

All else remains as on original Invitation to Bid.


This Addendum is hereby officially made a part of the referenced solicitation. 

Acknowledgement: If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________


Revision:  If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to:  (225) 342-9756.  Electronic transmissions other than by fax are not being accepted at this time.

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For:  ________________________  By:  __________________________


By:	LaKeisha Bryant
	Office of State Procurement
	Telephone No. 225-342-4824
	Email: LaKeisha.Bryant2@la.gov 
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