RFx No.:3000026481 	 Title: *Site Visit* HVAC Maintenance - SOS

Attachment C

# Replacement Filters

Filters on all air-handlers (5 each) and rooftop units (3 each) shall be replaced monthly with pleated 40% minimum filters. The larger HEPA filters shall be replaced on an annual basis to be completed no later than June 30 of each year. All after-filters shall also be included.

Filter List

| Units | Frequency | Filter Type | Size |
| --- | --- | --- | --- |
| All Air-Handlers | MONTHLY | Pleated 40% Minimum | 2” |
| All Rooftop | MONTHLY | Pleated 40% Minimum | 2” |
| Split Stm Heat Pump Units | MONTHLY | Pleated 40% Minimum | 20 X 20 X 1 |