Attachment D – Equipment List RFx No.:3000026481

Title: *Site Visit* HVAC Maintenance - SOS

|  |  |  | Attachment D - Equipment List |  |
| --- | --- | --- | --- | --- |
|  |  |  | Rotunda Building |  |
| Quantity | Equipment Type | Manufacturer | Model Number | Serial Number |
| 1 | Chiller | York | ylaa0170se17xfbbxtxbxxblxcxx42sexxxxhxxxyaxwxxx3xxxlxnr2xxxx | 11551d84916252 |
| 1 | Boiler | Arco | benchmark 1500 | g-18-0230 |
| 1 | Boiler Pump #1 | Armstrong | 3x3x8 4380 | 852153 |
| 1 | Boiler Pump #2 | Armstrong | 3x3x8 4380 | 852154 |
| 1 | Ahu #1 | York | xti-114x096 | abpmxt0057 |
| 1 | Ahu #2 | York | xti-114x096 | abpmxt0058 |
| 4 | Humidifiers | Pure | es-28 | 007117h-1 |
| 1 | Ahu #3 | York | xti-066x054-maja 017a | abpmxt0069 |
| 1 | Ahu #4 | York | xti-036x033-bada174 | abpmxt0070 |
| 1 | Chiller Pump | Baldor | m2515T-8 | z0403110089 |
| 1 | Chiller Pump | Baldor | m2515T-8 | z0302060120 |
| 1 | Ahu #5 | York | cp44fc50460 | ahgm005437 |
| 1 | Package Unit | Trane | wcc018f100bd | m461122 |
| 1 | Package Unit | Trane | 4wcc3024b1000ab | 1352jat9h |
| 1 | Package Unit | Trane | wcc018f100bd | m215pj92h |
| 1 | Package Unit | Trane | wsc072e3rca0ja001000000000000c | 153110855L |
| 1 | Mini Split | Mitsubishi | pumy-p48nhmu | 16u1340c |
| 1 | Mini Split | Mitsubishi | pumy-p48nhmu | 16u01339c |
|  |  |  | Archives Building |  |
| Quantity | Equipment Type | Manufacturer | Model Number | Serial Number |
| 2 | Heat Pumps | Daikin | REYQ144XATJU | 1907146967 |
| 1 | Mini-Split Pump | Daikin | FXAQ07PVJU | E031065 |