Attachment D – Equipment List RFx No.:3000026481       
Title: *Site Visit* HVAC Maintenance - SOS 
	
	
	
	

	
	
	
	Attachment D - Equipment List 
	

	
	
	
	
	

	
	
	
	Rotunda Building 
	

	Quantity 
	Equipment Type 
	Manufacturer 
	Model Number 
	Serial Number 

	1 
	Chiller 
	York 
	ylaa0170se17xfbbxtxbxxblxcxx42sexxxxhxxxyaxwxxx3xxxlxnr2xxxx 
	11551d84916252 

	1 
	Boiler 
	Arco 
	benchmark 1500 
	g-18-0230

	1 
	Boiler Pump #1 
	Armstrong 
	3x3x8 4380 
	852153 

	1 
	Boiler Pump #2 
	Armstrong 
	3x3x8 4380 
	852154 

	1 
	Ahu #1 
	York 
	xti-114x096 
	abpmxt0057 

	1 
	Ahu #2 
	York 
	xti-114x096 
	abpmxt0058 

	4 
	Humidifiers 
	Pure 
	es-28 
	007117h-1 

	1 
	Ahu #3 
	York 
	xti-066x054-maja 017a 
	abpmxt0069 

	1 
	Ahu #4 
	York 
	xti-036x033-bada174 
	abpmxt0070 

	1 
	Chiller Pump 
	Baldor 
	m2515T-8 
	z0403110089 

	1 
	Chiller Pump 
	Baldor 
	m2515T-8 
	z0302060120 

	1 
	Ahu #5 
	York 
	cp44fc50460 
	ahgm005437 

	1 
	Package Unit 
	Trane 
	wcc018f100bd 
	m461122 

	1 
	Package Unit 
	Trane 
	4wcc3024b1000ab 
	1352jat9h 

	1 
	Package Unit 
	Trane 
	wcc018f100bd 
	m215pj92h 

	1 
	Package Unit 
	Trane 
	wsc072e3rca0ja001000000000000c 
	153110855L 

	1 
	Mini Split 
	Mitsubishi 
	pumy-p48nhmu 
	16u1340c 

	1 
	Mini Split 
	Mitsubishi 
	pumy-p48nhmu 
	16u01339c 

	
	
	
	Archives Building 
	

	Quantity 
	Equipment Type 
	Manufacturer 
	Model Number 
	Serial Number 

	2 
	Heat Pumps 
	Daikin 
	REYQ144XATJU 
	1907146967 

	1 
	Mini-Split Pump 
	Daikin 
	FXAQ07PVJU 
	E031065 
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