Scope of Work:

The Contractor shall provide all labor, supervision, equipment, materials, transportation, hauling, disposal, site cleanup, permits if required, and incidentals necessary to complete the demolition and removal work for the Department of Agriculture and Forestry (LDAF).

Location:

(32 0145.80 N, -92 39 16.8W)

LDH Contact:

Hamilton Bynog, (318) 481-3382

Specification:

The Contractor shall perform the following:

Removal and demolition of the tower, including cutting up, dismantling, and removing the entire tower structure from the property.

Excavation and removal of the four pyramid-style foundation blocks at the tower

- location.

Backfilling each excavation to the surrounding natural grade/elevation using suitable fill material.

Terms and Conditions:

The Contractor shall verify all site conditions, access routes, utilities, and location-specific requirements before submitting a bid and before beginning work.

The Contractor shall protect existing improvements, roadways, gates, fences, utilities, trees, and surrounding property from avoidable damage.

The Contractor shall conduct demolition activities in a safe manner and in compliance with all applicable federal, state, and local laws, rules, regulations, permits, and safety requirements.

The Contractor shall be responsible for proper disposal of all materials at an approved disposal facility or in accordance with applicable laws and regulations.

The Contractor shall not leave demolished material, foundation material, scrap, trash, or debris on site unless specifically authorized in writing by LDAF.