STATE OF LOUISIANA

THE UNIVERSITY OF LOUISIANA MONROE

MONROE, LOUISIANA

A Member of the University of Louisiana System

October 30, 2026

Addendum No. 4

Bid # 50006-013

ULM Baseball Field Lighting Due: November 4, 2026

The purpose of this addendum is to provide clarification on electrical items.

ELECTRICAL ITEMS:

- Clarification

- All work shall be completed no later than February 5th, 2027.

- Provide a remote ON/OFF switch or push button capable of controlling all sports lighting poles simultaneously, in lieu of individual pole-by-pole control, if required to ensure compatibility with the selected manufacturer’s control system.  Coordinate final control configuration with the manufacturer prior to installation.

Bidders must acknowledge receipt of this addendum by signature below and return with your bid.

Authorized Signature	Company Name	Date

# #TAKEFLIGHT

ULM Bid 50006-013ULM is a member of the University of Louisiana System o AA/EOE — Addendum 1