State of Louisiana

Office of State Procurement

Jeff Landry

Governor

Taylor F. Barras

Commissioner of Administration

Division of Administration

1201 N. Third Street, Suite 2-160

Baton Rouge, Louisiana 70802-5243

Phone (225) 342-8010

Fax (225) 342-9756

October 13, 2026

Addendum No. 01

Your reference is directed to RFx Number 3000026710 for the Invitation to Bid (ITB) for the State of Louisiana – Film Scanner- SOS, which is currently scheduled to open at 2:00 PM CT on 10/14/26.

______________________________________________________________________________

RFx Currently Reads: Scheduled to open at 2:00 PM on October 14, 2026.

RFx Changed to Read: Scheduled to open at 2:00 PM on October 16, 2026.

______________________________________________________________________________

Questions from the Vendor and State’s Responses:

Vendor Question 1. Would you please clarify whether the State requires magnetic AND optical audio capture for every listed film format, including 8mm/Super 8mm, or whether the audio requirement applies only to the film formats for which the manufacturer's audio accessory supports those audio types?

State’s Response: Optical and Magnetic readers are only required for formats in which these audio types are typical. Optical is required for 16mm and 35mm. Magnetic is required for 16mm.

Vendor Question 2. Please confirm whether "Compatible with Windows PCs / Software included for operation" means the scanner and included software must operate with a Windows PC supplied by the agency, or whether the vendor is expected to furnish a Windows workstation as part of the bid.

State’s Response: Vendor is not required to provide a PC to operate the scanner. Scanner must include software for operation, software must be compatible with Windows OS.

Vendor Question 3. For the required delivery/unpacking/assembly, does "assembly" mean physical setup of the scanner, stand, gates/readers and accessories, or does the State also require on-site installation/configuration, connection to the agency's computer, calibration/testing, and/or user training?

State’s Response: Vendor is not required for assembly or installation. Technical and troubleshooting support must be available, if needed.

Vendor Question 4.  I was reading through attachment A and saw some language I just  wanted to get some clarification on. "Prices shall be complete, including transportation/freight charges prepaid by Bidder to destination, inside delivery, unpacking, assembly of all components and removal of all associated debris from premises. Prices should be quoted in the unit (each, box, case, hour, flat, mile, etc.) as specified in the solicitation."

State’s Response: Vendor is not required for assembly or installation. Technical and troubleshooting support must be available, if needed.

Vendor Question 5.  The named model is cintelscan4kg3cap / Cintel Scanner G3 HDR. Will the current Blackmagic Cintel Scanner G3 HDR+ be considered under the stated 'or equal' provision if supplied with all required 8mm, 16mm, and 35mm gates and documented compliance?

State’s Response: Yes, that scanner model would be considered equal if supplied with the gates and applicable accessories.

Vendor Question 6.  Is the scanner expected to include the Cintel Audio and KeyKode Reader (or an equivalent accessory) to fulfill both magnetic and optical audio requirements? Is an existing compatible Windows host computer available, or must the bid include one?

State’s Response: We would consider the Cintel Audio and KeyKode Reader or equivalent as fulfilling the need for magnetic and optical audio requirements. We have a high spec PC available for use already, so will not need one included in the bid.

Vendor Question 7. Please confirm the required delivery timeframe and whether installation or on-site training is required beyond the inside delivery, unpacking, assembly, and debris removal stated in Attachment A.

State’s Response: We do not have a timeframe in mind for the scanner. Delivery must be completed before the end of this fiscal year. Vendor is not required for assembly or installation. Technical and troubleshooting support must be available, if needed

Vendor Question 8. The RFQ references 30-day bid acceptance while Attachment A generally states a minimum of 60 days unless otherwise specified. Please confirm the applicable price-hold period.

State’s Response: 30 days.

Vendor Question 9. Blackmagic's Cintel manual documents optical audio for 16mm/35mm and magnetic-stripe audio for 16mm single-perforation film. Does that satisfy the solicitation's "magnetic and optical audio options," or are magnetic audio for 8mm/Super 8 and/or 35mm and any other audio types also required? We are requesting a complete supplier configuration and do not want to assume an audio scope the State did not intend. Our earlier model, host-PC, delivery and price-hold questions remain pending.

State’s Response: Yes, the Blackmagic Cintel would satisfy the need for magnetic and optical audio options, if the gates and the Cintel Audio and KeyKode Reader are included. We do not need the capability of reading Super 8mm magnetic sound. We have a high spec PC available for use already, so will not need one included in the bid.

Vendor Question 10. Our understanding is that the successful bidder is responsible for delivery of the specified new scanner and accessories to 3851 Essen Lane, Baton Rouge, but is NOT required to provide on-site installation, computer/software configuration, calibration, operational testing, demonstration, or staff training. Would you please confirm that understanding?

State’s Response: Yes, the vendor is responsible for the delivery to the stated delivery address. The vendor is not required for assembly or installation. Technical and troubleshooting support must be available, if needed.

Vendor Question 11. The Special Terms also refer to inside delivery, unpacking, assembly and removal of packaging. Would you clarify whether any of those services are required beyond delivery of the packaged equipment, and specifically whether physical assembly/unpacking and debris removal remain required?

State’s Response: Vendor is not required for assembly or installation. Technical and troubleshooting support must be available, if needed

Vendor Question 12. Please confirm whether the scanner's magnetic and optical audio options, as provided by the manufacturer-specified Blackmagic Audio and KeyKode Reader (optical and magnetic for 16mm; optical for 35mm), satisfy the solicitation's audio requirement.

State’s Response: This is correct.

Vendor Question 13. The schedule requires 8/Super 8, 16/Super 16 and 35/Super 35 support, magnetic/optical audio and Windows operation. Please clarify the required configuration/accessories and whether one scanner must handle all formats; the model name alone may not establish every listed capability.

State’s Response: We want a scanner that can handle 8, 16, and 35mm gauge film. The scanner can be modular, so if it comes with different film gates to switch out needed then that is fine. We want a scanner capable of scanning audio typical of the different gauges. If Super8/ 16mm magnetic is not an option, 16mm magnetic and 16mm/35mm optical would be ok as an option.

All else remains as on original Invitation to Bid.

This Addendum is hereby officially made a part of the references solicitation.

Acknowledgement: If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time.  Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________

Revision:  If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to:  (225) 342-9756.  Electronic transmissions other than by fax are not being accepted at this time.

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For:  ________________________  By:  __________________________

By:	Kafayat Alli-Balogun

Office of State Procurement

Telephone No. 225-342-5650

Email:  kafayat.alli-balogun@la.gov