**If bidding other than specified, please provide manufacturer’s specs for “or equal” items. **

Scope of Work

The Contractor shall furnish all necessary labor, materials, tools, equipment, and supervision to install window blinds, treatments, and tint for the Louisiana Department of Veterans Affairs (DVA).

Location:

Louisiana Veterans Home

4739 Hwy 10

Jackson, LA

Agency Contact:

Shannon Sutton, (225) 634-4420

Specifications:

The Contractor shall be responsible for the following:

- Caco or Equal 2” faux wood blinds

  - preferred color: White

Specify Blinds Bidding: _______________

Specify Color Bidding: _______________

- Day Room:

  - Blinds for six windows, measuring approximately 80” wide x 65” Long

  - Blinds for four windows, measuring approximately 39” wide x 63” long

- Main Dining Room:

  - Blinds for six windows, measuring approximately 82” wide x 62” long

- Unit 1 Dining room:

  - Blinds for six Windows, measuring approximately 76” wide x 79” long

- Resident rooms:

  - Blinds for 125 windows, measuring approximately 49” x 54”

- Tinted windows:

  - Unit 5 Dining room (Shade/darkness to be confirmed by user):

  - Window tint for five windows, measuring approximately 74” wide x 74” wide, nine separate panes each window.

- This is located on our memory care wing,

  - Care must be taken to keep tools and materials away from residents

  - Work must be coordinated with nursing staff

  - It may be preferable to do on an after-hours schedule

General Terms:

- The Contractor shall be responsible for delivery and pickup of materials/supplies needed to complete project.

- Disposal of all materials, and debris shall be the responsibility of the Contractor.